19" ISDN Patchpanel, Cat.3

1 U with 50x RJ45 Jacks

port printing: top 1,3,5..., bottom 2,4,6... 
cable connection on rear LSA modules
configuration RJ45: 3-6, 4-5
duct for wiring
fastening-parts kit, grounding cable and cable ties incl.

Color: RAL 7035 (light gray)

Standards

ISO/IEC 11801

EN 50173

### Type Designation:

ekuOmniFix ISDN 50 Port  (t66833550)

Quantity (unit)	:		___

Price		:		___

Lump Sum Price	:		___